## Simple Evaluation
What it’s about | What to check | Your rating question (0–5) | BullsEye machine (what the papers say) | Aimed machine (what the papers say) | GE machine (what the papers say)
X‑ray amount | Auto control to lower X‑ray | Does it auto‑control X‑ray to keep dose low? | Auto X‑ray control: yes. | Auto X‑ray control: yes. | Auto X‑ray control: yes.
X‑ray amount | X‑ray settings range | Are the X‑ray settings enough for many exams? | Wide X‑ray settings for many exams. | 60 to 100 kilowatts, 220 to 240 volts | Wide X‑ray settings for many exams.
X‑ray amount | Can it record X‑ray dose | Can it record the X‑ray dose for patients? | Supports Saves and shares to hospital computers: yes. | Supports Saves and shares to hospital computers: yes. | Supports Saves and shares to hospital computers: yes.
X‑ray amount | Kid‑friendly / low‑dose modes | Does it have low‑dose modes for kids? | Kid‑friendly low‑dose: yes. | Kid‑friendly low‑dose: yes. | Kid‑friendly low‑dose: yes.
Speed | Time to see the picture | How fast does the first picture show up? | First picture in ~1 second. | First/next picture in ~3–5 seconds. | 1 to 2 seconds
Speed | Time until next picture | How fast until it’s ready for the next picture? | Ready for next in ~3.6 seconds. | First/next picture in ~3–5 seconds. | Ready for next in ~2–3 seconds.
Speed | How many patients it can handle | Can it handle a busy day? | Handles about 50–100 patients/day. | Handles over 100 patients/day. | Approximately About 40 pictures/hour.
Speed | How it sends and saves pictures | Will it send and save pictures reliably? | Wireless; can store ~100 pictures. | Cable connection; with small picture archive (4 users). | Wireless detector; built‑in memory.
Easy to use | Buttons and screen | Is the screen and buttons easy to use? | Easy screen and buttons. | Touchscreen acquisition console | GE acquisition console with user-friendly interface
Easy to use | Auto fixes for pictures | Does it auto‑fix pictures to save time? | Auto fix pictures. | Automatic processing and grid removal | Automatic positioning and image stitching
Easy to use | Table and stand to position patients | Is it easy to position patients? | Easy‑to‑move table. | Floor-mounted system | Floor-mounted system
Works with computers | Works with hospital computers | Will it work with our hospital computers? | Fully Saves and shares to hospital computers: yes. | Fully Saves and shares to hospital computers: yes. | Fully Saves and shares to hospital computers: yes.
Fits in our room | Room space needed | Will it fit our room? | Needs room at least 3.5×4 m. | Needs room about 4×5 m. | Needs room about 4×5 m.
Fits in our room | Electricity needed | Can we plug it into our power? | Uses normal clinic power (220–240 V). | Works with 220–240 V (single or three‑phase). | Works with 220 V power.
Fits in our room | Help with government papers | Will they help with government papers? | Helps with some government papers. | Helps with all government papers. | Helps a little with papers (testing only).
Training | Training for staff | Will they train our staff well? | Training included. | Training 1–2 days; remote help too. | On-site training included
Check‑ups & fixing | Regular check‑ups | Do they promise regular check‑ups? | Regular check‑ups: 2×/year. | Regular check‑ups: 2–3×/year. | Regular check‑ups: 2×/year.
Check‑ups & fixing | How fast they help | If it breaks, how fast will they help? | Help fast: hotline; same‑day call back. | Remote support within Help remote in 1–2 days; onsite in 2–14 days. | Phone support within 4 hours; onsite within 24 hours
Check‑ups & fixing | How long it stays broken | If broken, how long until it works? | Fix time: depends on problem. | Fix time: same day (software) up to 30 days (parts). | 1 day if no parts needed; Fix time: 3–5 days if parts needed.
Check‑ups & fixing | Spare while fixing | Will they lend a spare while fixing? | No info given. | Spare machine 7–14 days (if available). | No info given.
Warranty & parts | Warranty time | How long is the free‑fix warranty? | Warranty: 2 years. | Warranty: 1 year. | Warranty: 3 years.
Warranty & parts | How easy to get parts | Are parts easy to get? | Parts nearby: yes. | Major parts Big parts may take 30–60 days. | Some parts local; others shipped in.
Warranty & parts | How much parts may cost | Are parts expensive? | Cost varies by part | Quoted on request | Parts can be pricey (₱100k–₱500k).
Safety & toughness | How tough it is | Is it tough for busy use? | Okay with water splashes; drop‑tested. | Standard design housing | Medical‑grade body; decent protection.
Safety & toughness | Help with government papers | Will they help with government papers? | Assistance only with FDA testing | Full assistance with all government licensing | Assistance only with FDA testing
Matches our exams | Fits our usual exams | Does it match our common exams? | Good for general X‑rays; also ER/ICU. | General X-rays | Good for chest, trauma, and general X‑rays.
Upgrades later | Upgrades later | Can we upgrade it later? | Voyance software updates available | Small picture archive (4 users) included. | Upgradable software and detector firmware
What’s included | What’s included in the price | Do they include delivery and training? | Price includes delivery, installation, and training | Includes freight, installation, and training | Includes delivery, install, training.

## Instructions
How to rate (0–5 stars)
0 = very bad, 1 = bad, 2 = okay, 3 = good, 4 = very good, 5 = excellent
Read the machine notes in each row, then give a score for that item.
Keep the same scale for all items so we can average scores later.